## Slide 1
800mm
800mm
Comms Cab
900mm
900mm
900mm
900mm
2600mm
2600mm
Comms Room Layout Example with 1 Comms Cab
min. 2600mm x 2600mm therefore 7m2

## Slide 2
800mm
800mm
1600mm
Comms Cab
Comms Cab
900mm
900mm
900mm
900mm
2600mm
3400mm
Comms Room Layout Example with 2 Comms Cabs
min. 2600mm x 3400mm therefore 9m2

## Slide 3
800mm
800mm
1600mm
Comms Cab
Server Cab
900mm
900mm
1200mm
3600mm
3400mm
Comms Room Layout Example with 1 Comms Cab & 1 Server Cab min. 3600mm x 3400mm therefore 12.5m2
1200mm
1200mm